# Safety and Good Laboratory Practice in the NMR Laboratory

# Safety:

NMR spectrometers are not inherently dangerous, and “fear” of the instrument should never discourage use.  However, the strong magnetic field and large amount of energy stored in the magnet requires that certain practices must be followed. This ensures safety to both people and the instrument itself.

- Persons with life sustaining implanted medical electronics such as pacemakers must not enter the NMR laboratories.  Some areas on the floor below the laboratories (200 level) may also be restricted, and are clearly marked.

- Modern orthopedic implants (screws, plates, rods, artificial joints etc.) are usually non-magnetic, and should be safe near an NMR magnet.  However, you must check with your physician  first, before entering the NMR laboratories.

- Magnetic objects such as chairs or tools must be kept away from the NMR magnets at all times.  The magnetic force on an object from an NMR magnet changes from imperceptible to uncontrollable over a distance of only a few centimeters.  Severe and extremely expensive damage to the spectrometer can result when unrestrained magnetic objects strike the magnet.  The safe distance for magnetic objects is marked with black/yellow striped lines on the floor.  Small magnetic objects such as coins and keys in your pocket are generally not a problem.  However, the magnetic field may damage credit/bank cards, MP3 players, etc.

- Protective gloves must be removed before handling the sample spinners or the keyboard.  Nobody wants the chemicals that you are trying to keep off your hands on the keyboard or spinners.

- In the extremely unlikely event of a magnet quench (large cloud of cold gas being expelled from the top of the magnet) or a low oxygen alarm (loud beeping), leave the NMR laboratory immediately and contact Kirk Marat (home: 269-2225, cell: 228-6474).  Do not re-enter the laboratory until you receive permission from facility staff.  The white cloud above the magnet is not smoke, so do not pull the fire alarm.

- The spectrometer operating desk is not to be used for sample preparation.

# Good Laboratory Practice:

- Samples tubes should be of good quality and in good condition.  The minimum NMR tube grade is Wilmad 507-PP, or the equivalent from other manufacturers.  Wilmad 528-PP or better are recommended for the 500 MHz and 600 MHz instruments, but Wilmad 507-PP are fine for most purposes.  Damage to the instrument caused by improper or broken tubes will be charged to the researcher involved.

- Samples must be properly prepared and should be labeled.  A separate handout on sample preparation is available.  Unlabelled sample tubes left in the laboratory will become property of the NMR laboratory.

- Weighing the sample (rather than guessing at the weight) makes it much easier to judge how many scans are required for 2D and 13C experiments.

- Sample tubes and spinners should be cleaned with a “KimWipe” before inserting into the spectrometer.

- Data should be transferred from the spectrometer to your personal computer and archived onto permanent media (CD, DVD, tape, etc.) as soon as practical.  Any data older than one month may be deleted from the spectrometers by facility staff without notice.